## Charts
Campus Energy-Saving System — Excel Analysis

## Chart_Data (hidden)
Building | Total Energy (kWh) | Wastage | Records | Building | Average Occupancy | Equipment Status | Records | Week | Energy (kWh) | Operating Hours | Average Energy
Block D | 2063 | Yes | 106 | Block A | 23.6172 | Normal | 229 | 1969-12-29/1970-01-04 | 7773.1 | 0 | 0.82
Block A | 2033.9 | No | 394 | Block D | 22.2714 | Maintenance Due | 93 |  |  | 1 | 1.8056
Block C | 1936.3 |  |  | Block C | 21.4098 | AC Heavy | 72 |  |  | 2 | 3.4393
Block B | 1739.9 |  |  | Block B | 20.3364 | Lights + Fan | 70 |  |  | 3 | 5.3371
[6 empty] | AC + Lights ON | 36 |  |  | 4 | 7.22
[10 empty] | 5 | 14.3276
[10 empty] | 6 | 16.5894
[10 empty] | 7 | 20.6046
[10 empty] | 8 | 21.3824
[10 empty] | 9 | 24.3857
[10 empty] | 10 | 25.9274